# Manual (Hand) Tape Casting Jig (Dual Blade Type)

# (Model : MTC-01A)

HANSUNG SYSTEMS developed MANUAL (HAND) TAPE CASTING JIG (Model MTC-01A) for R & D

works of the Green Sheets process.

MANUAL TAPE CASTING JIG (Model MTC-01A) can make small quantity Green Tape for material

analyzing and R & D Works. The thickness of Green Tape is controlled through the Blade gap.

That is controlled using thickness gauge put in under the Dr. Blade..

Model MTC-01A is designed easy cleaning, easy dis-assembly and easy assembly .,

The Model MTC-01A is suitable for R & D Works and sample production.

Applications : R & D Works for Multi-layer Ceramics Package., MLCC, Chip Inductor,

LTCC, Multi-layered RF module. Multi-layered thick film sensor, etc

Materials analysis.

## Machine Specification (Model  MCT-01A)

- Maximum width of GREEN SHEET produce  :  120 mm

(The Width can be changed when customer order.)

- Maximum thickness of GREEN SHEET  :  0 - 500  micro-meter

- Thickness control  :  The Screw Fixing method through Thickness gauge.

MANUFACTURER : U.S.A. Office : HANSUNG SYSTEMS, INC. HANSUNG SYSTEMS USA, INC. 773, DAPSHIPRI 4-DONG, 22104, S.Vermont Ave. #106 DONGDAEMOON-GU, TORRANCE, CA. 90502-2156 SEOUL, KOREA. U. S. A. PHONE : 82-2-2249-5235 PHONE : (310) 212-0707 FAX : 82-2-2249-2157 E-MAIL : ehansung@hotmail.com E-MAIL : ehansung@hotmail.com

* Above Specification will be changed without notice for machine improve .

CAT No. 020405

MANUAL (HAND) TAPE CASTING JIG (Model MTC-01A and

### THICKNESS GAUGE